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INVITATION TO BID

July 01, 2026

TO: 	ALL MOELCI- I ACCREDITED AND QUALIFIED SUPPLIERS

You are hereby invited to submit your sealed bids for the requirement listed below;

	ITEM
	MATERIAL DESCRIPTION 
	QTY
	  UNIT

	1
	CROSS ARM , 10FT
	30
	PCS

	2
	CROSS ARM, 8FT 
	50
	PCS

	3
	STEEL V- BRACE 
	30
	PCS

	5
	STEEL BRACE, 28''
	100
	PCS

	6
	PIN TYPE INSULATOR, HDPE 55-5
	200
	PCS

	7
	CROSS ARM PIN, LONG SHANK, 5/8' X 13 - 3/4
	200
	PCS

	8
	SUSPENSION INSULATOR, PROCELIAN
	150
	PCS

	9
	SPOOL INSULATOR, 3'''
	200
	PCS

	10
	SPOOL INSULATOR, 1 3/4'''
	200
	PCS

	11
	STRAIN CLAMP, 2/0
	200
	PCS

	12
	SUSPENSION CLAMP, 2/0
	50
	PCS

	13
	OVAL EYEBOLT, 5/8 X 12''
	150
	PCS

	14
	OVAL EYEBOLT, 5/8 X 10''
	100
	PCS

	15
	MACHINE BOLT, 5/8 X 12''
	100
	PCS

	16
	MACHINE BOLT, 5/8 X 10''
	160
	PCS

	17
	MACHINE BOLT, 5/8 X 8''
	120
	PCS

	18
	MACHINE BOLT, 1/2 X 10''
	50
	PCS

	19
	DOUBLE ARMING BOLT, 5/8 X 16''
	200
	PCS

	20
	DOUBLE ARMING BOLT, 5/8 X 14''
	150
	PCS

	21
	SECONDARY SWINGING CLEVIS, BIG 
	180
	PCS

	22
	SECONDARY BRACKET  
	150
	PCS

	23
	CARRIAGE BOLT 6''
	150
	PCS

	24
	CUT -OUT, 15kv
	70
	PCS

	25
	LIGHTING ARRESTER
	40
	PCS

	26
	GROUND ROD 8FT
	60
	PCS

	27
	CLAMP LOOP DEAD - END , # 2/0
	150
	PCS

	28
	CLAMP LOOP DEAD - END , # 4/0
	100
	PCS

	29
	ANCHOR ROD,8FT
	80
	PCS

	30
	THIMBLE EYE, 5/8
	30
	PCS

	31
	EXPANDING ANCHOR, 8WAYS with PLATE
	50
	PCS

	32
	SQUARE WASHER FLAT 2 1/4'' X 1 1/4''
	100
	PCS

	33
	SINGLE UPSET BOLT, 10''
	200
	PCS

	34
	DOUBLE UPSET BOLT, 10''
	200
	PCS

	35
	GUY MALLEABLE IRON 
	30
	PCS

	36
	COMPRESSION CONNECTOR # 400
	300
	PCS

	37
	COMPRESSION CONNECTOR # 300
	300
	PCS

	38
	COMPRESSION CONNECTOR # 250
	300
	PCS

	39
	COMPRESION CONNECTOR #100
	300
	PCS

	40
	COMPRESION CONNECTOR # 6
	3000
	PCS

	41
	HOTLINE CLAMP, # 2/0
	300
	PCS

	42
	HOTLINE CLAMP, # 4/0
	200
	PCS

	43
	POLE TOP PIN 
	100
	PCS

	44
	3 BOLT CLAMP
	100
	PCS

	45
	EYE NUT 
	100
	PCS

	46
	LAG SCREW
	150
	PCS

	47
	SCREW INSULATOR, BIG 
	100
	PCS

	48
	POLE CLAMP, 5''. 7''
	30
	PCS



Instructions:

SEALED BID proposal shall be submitted to MOELCI – I BAC Secretariat office located at Magcamiguing, Calamba, Misamis Occidental or email at moelciunobacsec@gmail.com not later than 8:30 AM, July 9, 2026 unless re-scheduled for valid reason.

1. The Approved Budget for Contract is Php 1,991,466.00 inclusive of VAT.
2. Bidding Documents is Php 5,000.00
3. Source of Fund is: RFSC
4. Proposal must be SEALED and shall have at least One Hundred Twenty (120) days price validity from the date of submission of quotation.
5. Opening of sealed quotation will be held on July 9, 2026, at 9:00 AM. 
6. With available stocks ready for post-qualification and immediate delivery.
7. Terms of payment (at least 12 mos.), delivery period, and warranty should also be specified.
8. Process is based entirely on the NEA’s Procurement Guidelines and Simplified Bidding Procedures for Electric Cooperatives
9. MOELCI – I reserve the right to accept or reject any bid, to cancel the bidding process and to reject all bids at any time before the contract award, without thereby incurring any liability to the affected bidders.
10. For other details and concerns, please inquire in person at our Main Office, Magcamiguing, Calamba, Misamis Occidental or through call or text at BAC Secretariat Cellphone No. 09985660194/09979901320 or email at moelciunobacsec@gmail.com      
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